## Slide 1: Big data in the intensive care unit (ICU): An open-access high performance computing system for developing research applications (apps)
Mohammad Adibuzzaman, PhD
Research Scientist
madibuzz@purdue.edu
Mohammad Adibuzzaman1
1Regenstrief Center for Healthcare Engineering, Purdue University, West Lafayette, USA

## Slide 2
Use cases
  Hemorrhage detection
  AF Risk stratification
Computational platform
What's next?
Outline

## Slide 3
Hemorrhage Detection

## Slide 4
Hemorrhage, ahe and death
Hemorrhage leads to acute hypotensive episode (AHE) or shock, and shock leads to death.
Notes: When regulatory mechanisms fail, shock happens:
Blood pressure remains unchanged for a long time
Heart rate increases (to compensate for low circulation and keep BP unchanged)
Eventually, blood pressure “craters”
However, many patients have reactions that do not follow this pattern, making shock diagnosis tricky

## Slide 5
Problem Description
Hemorrhage results in over 80% of operating room deaths after major trauma [2]
Almost 50% of deaths in the first 24 hours of trauma care are due to hemorrhage [2]
Heart rate, mean arterial pressure, and shock index poorly predict the need for continued resuscitation and the effectiveness of treatment [1]
[2]
A METHOD IS NEEDED TO IDENTIFY PATIENTS THAT REQUIRE IMMEDIATE MEDICAL CARE
Notes: Figure shows the causes of death at various phases of a patient’s stay in the hospital
- Prehospital ranges from before EMS arrive to before arriving at the hospital
- Other** deaths include combinations of hemorrhage/CNS injury
Problem Description
What is hemorrhage? Bleeding – blood escaping from the circulatory system
  Causes: Different types of trauma (blunt, penetrating), medical procedures, coagulation disorders
  Hemorrhage can lead to a host of complications, and eventually death
Why is it important to treat?
  Hospital emergency departments
  Triage situations
  Battlefield treatment

## Slide 6
Require ~30 heartbeats of baseline patient data
Estimates the remaining proportion of physiological reserve available to compensate for loss of blood volume [3]
Compares individual waveforms to a large library of reference waveforms (using lower body negative pressure (LBNP))
Compensatory reserve index (cri)
State of the art
[3]
Notes: Lower body negative pressure causes increased retention of blood in lower body, resulting in reduction of central blood volume
- Meant to imitate a hypotensive episode in the patient’s upper body
Goals:
Prospectively identify ongoing loss of blood volume [1]
Estimate the point at which individuals would experience hemodynamic decompensation well in advance compared to traditional vital signs

## Slide 7
Immature swine (N=7)
Underwent continuous hemorrhage of 10 ml/kg over 30 minutes as SBP was recorded [4]
Eigenvalues were calculated for each window of 2000 samples (20 seconds)
Correlation coefficients determined between mixing rate and each vital sign (HR, SBP, PP, shock index)
Animal study: data

## Slide 8
Algorithm
State 2 (75-80 mmHg)
State 3 (80-85 mmHg)
State 1 (70-75 mmHg)
[4]
Arterial Blood Pressure
Markov Chain
Transition Probability Matrix
Notes: From the waveform dataset, a Markov chain transition probability matrix is created
Create a matrix of m×m states, where the entry at the ith row and jth column represents the probability for which blood pressure changes from the ith to the jth state

## Slide 9
Mixing rates from each successive transition probability matrix are compiled into a single graph [4]
Animal study: Results
[4]
[4]
Notes: SLEMs from successive windows (2000 samples) are plotted to make a single graph of mixing rate
Significant changes in mixing rate can be calculated from this graph
Table shows the median time that a significant change is detected using the mixing rate metric in swine compared to the change in shock index since baseline

## Slide 10
Animal study: Results
[4]
Correlation coefficients
Notes: This table displays the correlation coefficients between mixing rate and HR, SBP, PP, and SI
- Shock index had an inverse correlation greater than 0.5 for all 7 swine samples

## Slide 11
Translational study: Challenge Data
Minute by minute data
Acute hypotensive episode (AHE) is defined a period of 30 minutes or more during which at least 90% of the mean arterial pressure (MAP) measurements were at or below 60 mmHg
Computing in cardiology Challenge Data 2009
Notes: In our research, we only considered patients in groups H1 and H2, as they were the only ones with identifiable hypotensive episodes

## Slide 12
Translational study: mimic database
MIMIC II Waveform Database Matched Subset [6]
  Challenge data in Matched Subset
  Clinical records (SBP, DBP, MAP, HR) – 1 reading per minute [7]
  Waveform records (ECGs, continuous blood pressure waveforms) – 125 samples per second [7]
[6]
MIMIC Data
Notes: CINC Challenge Data came from the MIMIC II Waveform Database Matched Subset
Clinical records (1 per minute)  Used to calculate shock index
Waveform records (125 per second)  Used to calculate mixing rate
  Use Matlab for waveform analysis

## Slide 13
10 minutes prior to onset of forecast window to establish baseline
60 minutes of data in forecast window (AHE ~30 minutes into forecast window)
Translational study: Patient Data
Observation Window
(noncritical, 10 minutes)
Forecast Window
(60 minutes)
T0
(onset of forecast window)
Example Patient BP Waveform Data (125 Hz, ~72 hours total data, T0 known):
AHE of Interest
(~30 minutes into Forecast Window)
MIMIC II Waveform database matched subset
Notes: What do we do with this database?
  Find location of T0 in dataset (given)
  Collect 10 minutes of data prior to T0 to establish baseline
  Collect 60 minutes of data after T0, find first instance of significant change to mixing rate
    Approximately 30 minutes into forecast window

## Slide 14
Patient MR waveforms
Notes: Background: 11 patient MR waveforms that fit criteria and do not contain excessive noise around AHE
Blue line: Average of all 11 patient waveforms

## Slide 15
Algorithms worked for some patients and did not work for some patients
What are the characteristics of the patients? Why did it work?
Clinical data is in SQL
Matching and linking data

## Slide 16
Stroke risk stratification

## Slide 17
Absolute/ relative risk/ risk stratification of ischemic stroke/TIA
  For patients with persistent AF and Paroxysmal AF.
Atrial fibrillation (AF) has been shown to be an independent risk factor for an ischemic stroke [1].
Current approaches
  Scoring method for risk assessment
  CHADS2 [2, 3] and, CHA2DS2-VASc score [4].
Stroke, AF and mortality

## Slide 18
Cohort selection

## Slide 19
Features for different scores

## Slide 20
Initial result

## Slide 21
Features in EHR (SQL)
ECG for AF in Waveform (SciDB)
Echocardiogram in ultrasound imaging
Heterogeneous data

## Slide 22
What Data Infrastructure is Needed?

## Slide 23
Research to translation: big data in healthcare
Patient data
  EHR
  Device
  Genomics
Integration
De-identification
Data broker
High Performance Computing
Analytics
Visualization

## Slide 24
Research to translation: big data in healthcare
Big Data Preprocess
High Performance Computing
Analysis/Code
Publication
Reproduce/Evidence Based Medicine/FDA Approval

## Slide 25
Janitor work?

## Slide 26
Proposed architecture
Big Data
High Performance Computing
Analysis
Publication
Reproduce/Analysis
Publication
Evidence Based Medicine/FDA Approval

## Slide 27
Multi-parameter Intelligent Monitoring in Intensive Care (MIMIC II)
Clinical Database
Waveform Database
MIMIC III
58,000 Hospital Admission
2001-2012
Nurse entered physiology
Medications
Laboratory data
Nursing notes
Discharge notes
Format: CSV, SQL
~40GB
23,180 Records
2001-2012
Waveforms
  ECG
  Blood pressure
  Plethysmography
Format: Text, Matlab
~3TB Compressed
4,897 Waveform and 5,266 Numeric records matched with 2,809 clinical records
Matched Subset

## Slide 28
Clinical
  PostgreSQL
  CSV
Waveform
  Physiobank ATM (one by one)
  Rsync (batch) (install rsync in Ubuntu by the command)
    sudo apt-get -y install rsync
  Matlab WFDB (Waveform database) toolbox
    rdsamp('mimic2wdb/31/3141595/3141595_0008')
Mimic iiI Access Platform

## Slide 29
High level browsing and exploration of the database
  How many patients with Acute Kidney Injury
Integration of heterogeneous data sources
  SQL and Waveform or Text
Cohort selection according to research goal based on clinical criteria,
  At least 8 hours of continuous minute by minute HR and BP trend within the first 24 hour of admission
Reproduce different machine learning and statistical algorithms.
  Logistic Regression
  Multivariate Regression
  Artificial Neural Network
5. No parallelism
Limitations of current platform

## Slide 30
Research with mimic database
Most of the studies use only Clinical database

## Slide 31
Platform
  Clinical
    PostgreSQL
  Waveform
    SciDB
  Integration
    R
  Interface
    R/Shiny
SciDB Capabilities
  CROSS_JOIN: Combine two arrays, aligning cells with equal dimension values
  MERGE: Union-like combination of two arrays
  WINDOW: Apply aggregates over a moving window
    window(input, NUM_PRECEDING_X, NUM_FOLLOWING_X, NUM_PRECEDING_Y...,aggregate(ATTNAME) [as ALIAS] [,aggregate2...])
  SORT: Unpack and sort
  UNIQ: Select unique elements from a sorted array
  KENDALL, PEARSON, SPEARMAN: Correlation metrics
  Distributed Computing
architecture

## Slide 32
architecture
Waveform Database
‘R’/Shiny
SciDB (Distributed DB) ICU Time Series
Bash/ Python
Postgres (Single Server DB) Clinical Data

## Slide 33
MIMIC_Numeric
MIMIC_Metadata
Elapsed_Time
File_ID
File_ID
Start_Time: datetime, mimiciii_id: int32
II:float, V: float, resp: float,…
Waveform database design in scidb

## Slide 34
https://mimic.catalyzecare.org:3838/sample-apps/bcollar/measurementErrors/
Use case

## Slide 35
Sustainability
Privacy/Security
Scalability
Methodological
  Causal inference
  Transportability
  Generalizability
Issues to be addressed

## Slide 36
Roger Mark, Professor, MIT
Alistair Johnson, Post-doctoral Researcher, MIT
Paul Brown, Paradigm4
Elias Bareinboim, Assistant Professor, Purdue University
Yonghan Jung, PhD Candidate, Purdue University
Yiyan Zhou, Undergraduate Student, Purdue University
Brett Collar, Under graduate Student, Purdue University
Yao Chen, PhD Candidate, Purdue University
Ananth Grama, Professor, Purdue University
acknowledgement

## Slide 37
Questions